## Slide 1
Data from Moscow ground tests
Calbration data base
eSASS documention
New eSASS users release, demo script
User feedback, bug reports, feature requests, etc.
Recent activities: SRCTOOL flux corrections
Astrometric correcitons
eSASS pipeline
All-sky survey SIXTE simulations & pipeline testing
eSASS pipeline
1/20
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019

## Slide 2
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
Testing campaigns in Moscow Dec. 2018 + Jan. 2019
Dual data reception via socket connection +
  file based via IKI data exchange server
Analysis via EGSE by eROSITA hardware team +
  FITS conversion for eSASS pipeline and NRTA
  (tmsplit, Ingo Kreykenbohm/Bamberg)
2/20
Data from Moscow ground tests

## Slide 3
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
Testing campaigns in Moscow Dec. 2018 + Jan. 2019
Dual data reception via socket connection +
  file based via IKI data exchange server
Analysis via EGSE by eROSITA hardware team +
  FITS conversion for eSASS pipeline and NRTA
  (tmsplit, Ingo Kreykenbohm/Bamberg)
Data from Moscow ground tests
2/20

## Slide 4
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
Testing campaigns in Moscow Dec. 2018 + Jan. 2019
Dual data reception via socket connection +
  file based via IKI data exchange server
Analysis via EGSE by eROSITA hardware team +
  FITS conversion for eSASS pipeline and NRTA
  (tmsplit, Ingo Kreykenbohm/Bamberg)
Georg Lamer
2/20
Data from Moscow ground tests

## Slide 5
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
Testing campaigns in Moscow Dec. 2018 + Jan. 2019
Dual data reception via socket connection +
  file based via IKI data exchange server
Analysis via EGSE by eROSITA hardware team +
  FITS conversion for eSASS pipeline and NRTA
  (tmsplit, Ingo Kreykenbohm/Bamberg)
Georg Lamer
Georg Lamer
2/20
Data from Moscow ground tests

## Slide 6
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
Testing campaigns in Moscow Dec. 2018 + Jan. 2019
Dual data reception via socket connection +
  file based via IKI data exchange server
Analysis via EGSE by eROSITA hardware team +
  FITS conversion for eSASS pipeline and NRTA
  (tmsplit, Ingo Kreykenbohm/Bamberg)
Data from Moscow ground tests
Georg Lamer
Georg Lamer
Georg Lamer
2/20

## Slide 7
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
Testing campaigns in Moscow Dec. 2018 + Jan. 2019
Dual data reception via socket connection +
  file based via IKI data exchange server
Analysis via EGSE by eROSITA hardware team +
  FITS conversion for eSASS pipeline and NRTA
  (tmsplit, Ingo Kreykenbohm/Bamberg)
Data from Moscow ground tests
Georg Lamer
Georg Lamer
Georg Lamer
2/20

## Slide 8
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
Testing campaigns in Moscow Dec. 2018 + Jan. 2019
Dual data reception via socket connection +
  file based via IKI data exchange server
Analysis via EGSE by eROSITA hardware team +
  FITS conversion for eSASS pipeline and NRTA
  (tmsplit, Ingo Kreykenbohm/Bamberg)
Data from Moscow ground tests

## Slide 9
Telescopes
2DPSF (P/S)
SLET_PSF
TVIGNET
ERBOX
ERMLDET
ERMLDET
EXPMAP
SRCTOOL
Detectors
ENERGY
MIPSMAP
BADPIX
OFFSETS
ENERGY
FTFINDHOTPIX
PATTERN
EXPMAP
SRCTOOL
EVPREP
EXPOSURE
EXPMAP
Cal file type
caldb (HEASARC standard) calibration database with additional indexing scheme to support different calibration versions for each eSASS release – NEW: change logs in caldb directory
eSASS task
APETOOL
eRoSITA calibration databas (caldb)
ERSENSMAP
SRCTOOL
3/20
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019

## Slide 10
Spectra
RMF (STD/FINE)
ARF (STD/FINE)
Timing
TIMECORR
Spatial
FOVMAP
SRCTOOL
SRCTOOL
EVPREP
ATTPREP
EXPMAP
SRCTOOL
BACKGRND
EXPMAP
SRCTOOL
Cal file type
eSASS task
TIMECORR
General
BACKGRND
Attitude
SED1/2
BOKZ
GYRO
ATTPREP
INSTPAR
TELATT
EVATT
4/20
DETMAP
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019

## Slide 11
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
5/31
eSASS documentation

## Slide 12
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
5/20
eSASS documentation

## Slide 13
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
5/20
eSASS documentation

## Slide 14
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
5/20
eSASS documentation
Work flows, scripts
(inputs by Adam Malyali)

## Slide 15
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
5/20
eSASS documentation
Work flows, scripts
(inputs by Adam Malyali)

## Slide 16
Working with eSASS – new users release
eSASSdevel
eSASSusers_YYMMDD
eSASSpipe_YYMMDD
Installing and working with eSASS:
https://wiki.mpe.mpg.de/eRosita/eSASS
eSASS info pages (interactive + pipeline):
http://erosita.mpe.mpg.de/eROdoc
eSASS download area (follow instructions in wiki):
http://erosita.mpe.mpg.de/eSASS-download/
eSASS helpdesk: eROSITA-helpdesk@mpe.mpg.de
Mailing list: eROcat@lists.mpe.mpg.de
NEW: monthly eSASS user telecons!
eSASS releases
using eSASS
Interactive analysis
eSASS releases
using eSASS
Interactive analysis
EVTOOL
SRCTOOL
EXPMAP
ERBACKMAP
ERSENSMAP
ERMASK
ERBOX
ERMLDET
PATTERN
ENERGY
EVATT
RADEC2XY
TIMECORR
BARYCORR
FLAREGTI
APETOOLL
eSASSusers_190220 (beta testing)
CATPREP
eSASSpipe_181017
(new autoconf by Philipp Weber – experimental)
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
7/20

## Slide 17
eSASS demo script
EVTOOL
EXPMAP
ERMASK
ERBOX local
ERBACKMAP
ERBOX map
ERMLDET
CATPREP
SRCTOOL
ERSENSMAP
calibrated event list
(SIXTE)
source catalogs
sensitivity maps
background maps
exposure maps
spectra, lightcurves, ARFs, RMFs
filtering,merging,
Image creation
detection mask
source detection
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
8/20
Christoph Großberger
APETOOL
aperture photometry
PSF + sensitivity maps

## Slide 18
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
6/20
User feedback, bug reports, feature requests, …
SIXTE/eSASS flux inconsistencies (SRCTOOL, ERMLDET fluxes)
  Florian Pacaud + Bonn team
  MPE: Teng Liu and others
  Thomas Dauser + Bamberg SIXTE team
Mostly solved (ongoing) a eSASS Q+A splinter
Suggestions for eSASS upgrades
  Miriam Ramos + Bonn team
  Teng Liu
  Alexis + Team
eSASS Q+A splinter
eSASS science requirements meetings a monthly eSASS user telecons
eSASS Q+A splinter session
Wed. 9:00 – 10:30
Feedback, bugs, feature requests,
new eSASS users release, etc.

## Slide 19: Fluxes of SRCTOOL extracted spectra as a function of position
9/20
1
7
4
10
13
25
19
47
41
35
29
26
8
14
44
38
32
20
2
SRCTOOL was using an old PSF
based on ray-tracing simulations
Jeremy Sanders
PSF provided by Konrad Dennerl

## Slide 20: Fluxes of SRCTOOL extracted spectra as a function of position
1
7
4
10
13
25
19
47
41
35
29
26
8
14
44
38
32
20
2
Updated SRCTOOL PSF using PANTER images to better match SIXTE PSF:
now agrees to around 5%
Tests with scanned observations also give similar agreement
Jeremy Sanders
PSF provided by Konrad Dennerl
10/20
Details:
eSASS Q+A splinter session
Wed. 9:00 – 10:30
Also: feedback, bugs, feature requests,
new eSASS users release, etc.

## Slide 21
3XMM in XMM-XXL field south as input list
SIXTE simulation of eROSITA sky tile
After source detection +10 arcsec offset to the DEC positions
NWAY based astrometric correction algorithm with
  GAIA optical reference and
  NWAY weights from position in WISE W2 vs. W1-W2 plane
Astrometric corrections
Mara Salvato (catalogs, NWAY)
Long Ji (NWAY based algorithm)
Georg Lamer (testing, eSASS implementation)
Result:
-9.25" in DEC and -0.69" in RA correction
Remaining offset: 1.03“
11/20

## Slide 22
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
12/20
Georg Lamer

## Slide 23
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
13/20
Georg Lamer

## Slide 24
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
14/20
Georg Lamer

## Slide 25
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
15/20
Georg Lamer

## Slide 26
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
Pipeline processing
EROPIPE
triggers pipeline chains, updates pipeline status,
load balancing
16/20

## Slide 27
EROPIPE
Pipeline control
S/P DET
S/P SOU
S/P/C EXP
TEL
PROC
PROC
PROC
PREXEC PROC
PROC
PROC
PROC
PREXEC PROC
PROC
PROC
PROC
PROC
PROC
PROC
PROC
PROC
PREXEC PROC
PROC
PROC
PROC
PREXEC PROC
Pipeline control program: initiates processing of task chains, prepares chain parameter files, updates and reads processing status files
200+ processing chains are executes concurrently on eROSITA servers, several pipeline configurations (and eSASS releases) may be be active in parallel
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
17/20

## Slide 28
H. Brunner eSASS pipeline eROSITA Conortium meeting, Potsdam March 4th, 2019
18/20
SIXTE simulations for pipeline testing
Christoph Großberger, Philipp Weber + Bamberg SIXTE team
One year all-sky survey simulation
Inputs for SIMPUT: AGN (Nicolas Clerc)
Cluster images (Jermy Sanders)
New all-sky survey simulation after
  SIXTE/eSASS coordinate system corrections:
RAWX/RAWY, roll angles – Thomas Dauser, Georg Lamer
  Improved SIMPUT, inputs by Johan Komparat, Jeremy Sanders, Joe Mohr + team
  New attitude file (Jan Robrade)
Full CalPV simulation (same simput + targets)
Example dataset: eRASS1 simulation of deep all-sky survey tile:
exposure map – photon image – ERMLDET source map
movies: 20 eROdays/s - processing+movies by Christoph Großberger

## Slide 29
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
19/20

## Slide 30
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
19/20

## Slide 31
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
20/20

## Slide 32
H. Brunner eSASS pipeline eROSITA Consortium meeting, Potsdam March 4th, 2019
20/20